## Slide 1
HYDRAID
Identifiability-aware diagnosis of leaks, demand shifts, and sensor faults
in sparse water networks
Team HydraID
Exasol AI Build Challenge 2026

## Slide 2
01
The Problem
45M m³/day
lost to leaks in developing-country
water networks (World Bank)
>$3B/year
estimated economic cost of
non-revenue water loss
The costly mistake isn't just missing a leak —
it's sending a crew for a false alarm.
When a pressure anomaly appears, the cause could be:
A leak
physical loss in a pipe segment
A demand shift
legitimate change in consumption
A sensor fault
the meter is lying, not the network
...and from sparse sensor data alone, they can look identical.
HydraID — Exasol AI Build Challenge 2026
2

## Slide 3
02
What Already Exists — and the Gap
Already exists
• Bayesian inverse leak localization
• Physics-informed GNNs for network state
• Top-K probabilistic leak localization
What's missing
1
Separates leak vs. demand vs. sensor-fault
2
Knows when causes are truly indistinguishable
3
Picks the next cheapest check to resolve it
Our contribution: the integrated decision loop — not a new leak detector.
HydraID — Exasol AI Build Challenge 2026
3

## Slide 4
03
How HydraID Works
Evidence
→
Forward simulation
(WNTR / EPANET)
→
Residual
engine
→
Calibrated
cause posterior
→
Identifiability
check
→
Active next-check
recommendation
Exasol is the backbone
Stores the full hypothesis × sensor × time signature cube — every scenario the model reasons over — plus every diagnostic run's posterior and probe ranking, so any decision can be replayed and audited later.
HydraID — Exasol AI Build Challenge 2026
4

## Slide 5
04
Identifiability ≠ Uncertainty
Observationally equivalent
Two hypotheses can look identical — no sensor reading currently in place can tell them apart.
HydraID abstains
Instead of guessing between tied causes, the system flags the tie explicitly.
Recommends the deciding measurement
Ranks the one next check that would actually separate them, by information gain ÷ cost.
Illustration: two tied hypotheses
Leak at P204
Sensor bias
at n26
distance < tolerance
STATUS: ABSTAIN — equivalent under current sensors
Recommended next check:
Inspect sensor n26 — highest information gain ÷ cost
HydraID — Exasol AI Build Challenge 2026
5

## Slide 6
05
Live Demo
[ dashboard screenshot ]
Anomaly detected
Residual spikes flagged against baseline signature
[ dashboard screenshot ]
ABSTAINING — tied causes
Two or more hypotheses within noise tolerance
[ dashboard screenshot ]
RESOLVED
After the recommended check, posterior collapses to one cause
Swap the placeholder panels for real Streamlit screenshots before presenting.
HydraID — Exasol AI Build Challenge 2026
6

## Slide 7
06
Results
Leave-one-case-out evaluation on 60 held-out scenarios (leak, demand, bias, stuck)
100%
accuracy on all cases the
system chose to resolve
51 / 60
cases resolved with a
confident, correct call
9 / 60
cases correctly abstained on,
rather than guessing wrong
[ insert confusion matrix screenshot ]
Real evidence, not a claim — show the actual table.
HydraID — Exasol AI Build Challenge 2026
7

## Slide 8
07
Responsible AI — Guardrails
No automatic operational control
A human approves every action before anything happens in the field.
Sensor faults downweighted, not trusted
A faulty sensor is treated as a hypothesis to test, never as ground truth.
Every decision is versioned
Model version, data version, and inputs are stored in Exasol for full replay and audit.
OUT OF SCOPE
✗ Exact-pipe-location guarantees
✗ Live pilot deployment claims
✗ Fully autonomous shutoff / dispatch
Being explicit about what this system doesn't claim is part of making it trustworthy.
HydraID — Exasol AI Build Challenge 2026
8

## Slide 9
08
Tech Stack
BattLeDIM / L-Town
Benchmark network + scenarios
EPANET / WNTR
Forward hydraulic simulation
XGBoost / scikit-learn
Calibrated cause inference
Exasol
Scenario cube, UDFs, audit log
Streamlit / Plotly
Operator dashboard
NetworkX
Real pipe-distance check costing
Containerized end-to-end with Docker for reproducible local runs.
HydraID — Exasol AI Build Challenge 2026
9

## Slide 10
09
Why This Fits
Exasol
Scenario-scale joins and in-database UDFs power the hypothesis cube directly.
VIT Chennai
Reproducible ML — every run versioned, every result replayable.
iTNT
Smart cities & resilient infrastructure, applied to a real utility problem.
TIDEL
Deployable API — the decision loop is a service, not a notebook.
STPI
A clear pilot pathway from shadow-mode to supervised field trial.
HydraID — Exasol AI Build Challenge 2026
10

## Slide 11
10
What's Next
1
Cross-network transfer
Validate the same decision loop on a second network — L-Town → Hanoi.
2
Live SCADA / GIS shadow mode
Read-only pilot: watch real data flow through the system without acting on it.
3
Sensor placement studies
Where would one more sensor buy the most identifiability, network-wide?
HydraID — Exasol AI Build Challenge 2026
11

## Slide 12
“Reliable AI isn't knowing the answer —
it's knowing what the data supports,
and what to measure next.”
github.com/haripriyasubbiah/hydraid
Team HydraID
Thank you